## Sheet1
Liquid Limit Device Check
LL Device ID: |  |  |  |  | Balance ID:
Technician Name: |  |  |  |  | Calipers ID:
Date of Check: |  |  |  |  | Resiliency Tester ID:
Procedure Used: | IHP-3 |  |  |  | Gauge Block ID:
|  | Measurements |  |  | Confirmation of Acceptance (Yes/No)
|  | 1 | 2 | 3
1. Device Cleaned: | [5 empty] | Yes
2. Wear Spot on Base: |  | 8.23 |  |  |  | Yes
3. Wear Spot on Cup: |  | 11.04 |  |  |  | Yes
4a. Original Rim Thickness: |  | 1.9 |  |  |  | Yes
4b. Worn Rim Thickness: |  | 0.93
4c. Percent Wear: |  | 51 |  |  |  | No
5. Groove in Cup Acceptable: | [5 empty] | Yes
6. Cup and hanger Weight: |  | 190.78 |  |  |  | Yes
7. Screws Tight: | [5 empty] | Yes
8. Side-to-Side: |  | 3.12 |  |  |  | No
9. Wear of Cam Acceptable: | [5 empty] | Yes
10. Base Length: |  | 150.05 | 152 |  |  | Yes
11. Base Width: |  | 125.16 | 125.21 |  |  | Yes
12. Base Height: |  | 49.87 | 49.89 | 49.75 |  | Yes
13. Rubber Feet Acceptable: | [5 empty] | Yes
14. Gauge Block Height: |  | 10.02 | 10.08 |  |  | Yes
15. Height-of-Drop Adjusted: | [5 empty] | Yes
16. Resilience Testing: |  | 90 | 90 | 85 | ASTM D4318: | Yes
[5 empty] | AASHTO T 89: | Yes
Form Preparation/Revision Date: 7/31/18