##### 2025 Asphalt Mixture Ignition Oven Samples 51 and 52

##### Data Sheet

###### Closing Date:  January 1st, 2026

# We encourage you to use the online data entry system.  If your laboratory is not registered to enter your results online, or if there are questions, contact AASHTO re:source at psp@aashtoresource.org or call 240-436-4900.

Enter Test Results in Lines (1) through (13) Below

| ASPHALT CONTENT BY IGNITION METHOD: Select the Box to Show the Method Used- T308 , D6307 | Sample 51(A) | Sample 52(B) |
| --- | --- | --- |
| For informational purposes only: Assume the pre-mixed samples are moisture free. Determine the correction factor using the procedure described in the instructions. |  |  |
| Initial (as received) Mass of Pre-Mixed HMA Sample (nearest 0.1 g): (1) |  |  |
| Correction Factor for Asphalt Binder Content (Use the same factor for both samples.) (2) |  |  |
| Corrected Asphalt Binder Content (nearest 0.01 percent) (3) |  |  |
| For informational purposes only: Oven Manufacturer: ______________________________ Oven Model: ________________________________ Set Point Temperature for Convection-Type Ignition Ovens: _____________ (°C) Burn Profile Used for Direct IR Irradiation-Type Ovens: ______________ Length of Time for Ignition Process (i.e. Burn Time): Sample 51(A) ___________ (minutes) Length of Time for Ignition Process (i.e. Burn Time): Sample 52(B) ___________ (minutes) |  |  |
| MECHANICAL ANALYSIS: Select the Box to Show the Method Used - T30 , D5444 | Sample 51(A) | Sample 52(B) |
| Method Used for Washing? Manual , Mechanical Washing Apparatus If Mechanical, Time Washed in Apparatus (average)? ________________ (minutes) |  |  |
| Mass removed by washing over the 75-µm (No. 200) sieve (nearest 0.1 g) (for information only): (4) |  |  |
| REPORT THE TOTAL PERCENT PASSING EACH SIEVE: |  |  |
| Total material passing the 12.5-mm (1/2 in.) sieve (nearest 0.1 percent) (5) |  |  |
| Total material passing the 9.5-mm (3/8 in.) sieve (nearest 0.1 percent) (6) |  |  |
| Total material passing the 4.75-mm (No. 4) sieve (nearest 0.1 percent) (7) |  |  |
| Total material passing the 2.36-mm (No. 8) sieve (nearest 0.1 percent) (8) |  |  |
| Total material passing the 1.18-mm (No. 16) sieve (nearest 0.1 percent) (9) |  |  |
| Total material passing the 600-µm (No. 30) sieve (nearest 0.1 percent) (10) |  |  |
| Total material passing the 300-µm (No. 50) sieve (nearest 0.1 percent) (11) |  |  |
| Total material passing the 150-µm (No. 100) sieve (nearest 0.1 percent) (12) |  |  |
| Total material passing the 75-µm (No. 200) sieve (nearest 0.01 percent) (13) |  |  |

Please enter your laboratory information below:

| Laboratory Name: |  |
| --- | --- |
| Date Submitted: |  |
| City, State, Country: |  |
| Submitted by: |  |
| Laboratory Number: |  |